# Institutional Animal Care & Use Committee

270 Engelmann Hall

P. O. Box 413

Milwaukee, WI

53201-0413

(414) 229-6339 phone

(414) 229-6729 fax

https://uwm.edu/animal-care/

IACUC Guideline for Relative Humidity Levels in Animal Rooms at UWM

According to the 8th Edition of The Guide for the Care and Use of Laboratory Animals, “…the acceptable range of relative humidity is considered to be 30% to 70% for most mammalian species.”

Lapham Hall Facility

- Relative humidity levels are recorded daily in all animal rooms.

- Room humidity levels may be adjusted with individual humidistats in most animal rooms.

- Consideration will be made for animals housed in static micro-isolator units, which may experience higher humidity levels within the cage in comparison with the macro-environment.

- Daily animal health monitoring will include observances for excessive humidity levels and/or condensation within the cage.

- For conventionally housed rodents, animals will be checked daily for signs of ringtail, caused by a lack of humidity in the environment.

- Humidity levels outside the range noted in the Guide will be accepted if there are no related animal health issues.

Garland/Pearse Hall Facilities

- Relative humidity levels are recorded daily in all animal rooms.

- Daily animal health monitoring will include observances for ringtail, caused by a lack of humidity in the environment.

- Humidity levels outside of the range noted in the Guide will be accepted if there are no related animal health issues.

- If adverse animal health conditions are noted, mechanisms to add moisture to the room will be used, such as portable humidifiers.

Reviewed 2/11/19