University of Wisconsin – Milwaukee

University Safety and Assurances

Radiation Safety Program

# RADIONUCLIE LABORATORY AUDIT

AUTHORIZED USER: ___________________________   DATE:________________

SIGNAGE/POSTINGS:

_______ Area/room posted			________ Notice to Employees

_______ Work Areas/equipment posted 		________ Emergency procedures/spill kit

_______ Waste labeled				________ Emergency Phone #’s

AREA MONITORING:

_______ Completed as required			________ Wipe tests performed-if required

_______ Map of area/numbered sites		________ Corrective actions taken/doc.

_______ Location of monitoring results noted	________ Meter Calibrated:____________

RECORD KEEPING:

_______ Use recorded on inventory sheets	________ Lab inventory up to date/avail.

_______ Transfers documented			________ Disposal records maintained

USE AND STORAGE:

_______ Isotope properly labeled/stored 	________ Isotope properly shielded

_______ Isotope properly secured		________ Isotope secured – locked storage

SAFETY:

_______ No eating or drinking			________ PPE available/used

_______ Dosimeters used	    			________ Bioassays obtained (if applic.)

WASTE DISPOSAL:

_______ Solid waste – yellow bucket/bags	________ Liquid waste – secondary cont.

_______ No labels/markings in waste		________ Segregated by isotope/half-life

PERSONNEL:

_______ Proper/documented training		________ Personnel list updated

PERFORMANCE BASED EVALUATION:

_______ Observed procedure

Reviewed:

_______ Lab limits, authorization data		________ Areas of use /storage

_______ Security issues				________ Waste storage areas/containers

_______ Use of survey meter			________ Dosimetry records

_______ Shielding requirements			________ Emergency procedures

COMMENTS:

AUDITOR:_________________________________________ DATE:_________________