Laboratory Inspection

Group:       		Room:       		Date:

Inspected by:

Group Safety Representative:      		University Safety & Assurances Rep.:

Instructions

Check "N/A" when potential hazards or referenced safety standards do not exist.  Write in the Corrective Action Needed to be performed by the lab if a potential hazard or non-compliance with a referenced safety standard exists.

General 							           N/A 	Corrective Action Needed

- Exits unobstructed?   Aisles unobstructed?

- Floors free of slip, trip, fall hazards?

- Spill control kits properly stored, identified, & accessible?

- MSDSs available for lab chemicals?  Or, web site book marked?

- Chemical Inventory up-to-date?  Chemicals dated upon receipt?

- Chem. Hygiene Plan (Haz. Chem. SOP) in lab?

- Emergency contacts listed on door up-to-date (phone no.)?

- Cardboard boxes kept to minimum?

- Emergency Action Plan up-to-date & posted?

- Flashlight/ Emergency lighting available?

- Evidence of food or drink in lab/ refrigerator/ freezer?

Equipment

- Personal protective equipment clean & properly stored?

- Safety glasses worn, available for visitors? Face shield/ goggles?

- Occupants wearing appropriate attire/ closed-toed shoes?

- Safety shields in place/ available for operations?

- Trap used with Rotovaps?

Corrosive gases trapped/ scrubbed before discharge?

- Are hoses attached to water sources clamped properly?

Are shutoff controls used for overnight operations?

- Exhaust ventilation operable? Slots blocked? Sashes low?

Secondary containment? Tested annually? Chemical storage?

- Variacs/ Power strips mounted outside hood?

- Vacuum pump exhaust vented to exhaust system? Guards?

- Hoses/ tubing in good condition/ properly installed?

Fire Prevention 	NA	Corrective Action Needed

- Fire extinguisher- Inspected monthly? On brackets? Unobstructed?

- Storage of flammables within approved cabinet?

Max. Allowable Quantity out of cabinet?

Sprinkler = 10 gal./100 ft2  No Sprinkler = 2 gal./100 ft2

- NFPA 704 Posting Blue      Red      Yellow      Other

Material Handling & Storage

- Chemicals not stored on the lab floor?

- Containers covered/ closed, labeled with identity/ key posted?

- Secondary containment used? Labeled?

- Only compatible materials stored together?

- Compressed gas cylinders capped if not in use? Secured?

- Are gas cylinders segregated by hazard?  Qty. flammable/ O2?

- Corrosive liquids below eye level? All liquids?

- Waste containers properly located and in spill trays?

“Hazardous waste” label on carboy?

Stored only with compatible materials?

Are “Chemical Inventory Analysis for Waste Solvents

in Carboys” sheets properly filled out?

- Peroxide forming materials are dated when received and

tested according to the safety manual rules?

- If HF, Calcium gluconate gel available?  SOP documented?

- DEA, Radioactive, Biohazardous, or Nanomaterials?

- DOT Shipping of Hazardous Materials?  Samples?

- Nitric Acid Quantity? New DHS chemicals?

- Mercury and mercury devices? Sec. cont.? Labeled?

Electrical Services/ Systems

- Electrical control panels/ switches unobstructed? Labeled?

- Electrical plugs in good condition and grounded?

- No extension cords improperly used? No power taps?

- No improper power strips, not daisy chained?

Cold Storage - Refrigerators/ freezers/ cold rooms

- Proper chemical refrigerator?

- Refrigerator/ cold room cleaned every 6 months? Defrosted?

- No organic chemicals stored in cold room?

- Spill trays used for liquids in refrigerators/ cold rooms?

Biohazards	NA	Corrective Action Needed

- Sharps - supply locked? Disposal container present?

- Biosafety cabinet certification up to date?

- If infectious agents:  SOPs, Spill proc., Reg. Med. Waste system?

- Biohazard symbol on storage?

- Access restricted when using infectious agents? Room posted?

- Training log present?

- Hand-cleaning avail.?  No food/ drink?

Lasers

- Sign on entrance to room identifies Class and hazards?

- Lighted entryway sign if CL4 available & used?

Access restricted? Panic button?

- Blocking barrier at entryway & around laser table,

if beam is hazard to other operations in lab?

- Facility windows protected from beam?

- Beam stops/ attenuators used?  Beam enclosed?

- Master switch key available/ key control maintained?

- Eye protection avail?  Integrity?  OD correct?  OD #

- Filters in line/ remote viewing if optics collect beam?

Misc.

- Strong cardboard box for disposing cleaned plastic pipettes/ tips?

- Broken glass container- cardboard or plastic?

- Corridor storage ok? (closed cabinets, not protruding, top clean?)

- Eyewash station flushed weekly?  Log up-to-date?

Lab specific list

CORRECTIVE ACTION PLAN

Group:         Date:

Instructions:

The Group Safety Representative shall complete a Corrective Action Plan identifying (1) the item number that corresponds to the line item above, (2) corrective action to be performed, (3) the person responsible to perform the corrective action, and (4) a target date for completion for each corrective action.  The Faculty Member or lab supervisor's signature shows concurrence with the corrective action plan. The GSR keeps this original form.  A copy shall be sent to the University Safety & Assurances representative within one week of receiving the inspection form or inspection follow-up email.

Item #	Corrective Action and Person Assigned			Target Date

If you need more space or have additional items - attach another sheet of paper identifying the above information.

Plan completed by ___________________________________   _________

GSR Signature                       Date

Faculty Member/ Lab Supervisor ____________________________________    _________

Signature                                                    Date

University Safety & Assurances Rep. Sent a Copy?  Yes  No   (Send to Engelmann 270)